BATTERY CHARGING DO’s and DON’TS

Charging habits are a major determining factor for how long batteries will last, good habits will prolong the life of a battery, bad habits will shorten the battery life. For maximum battery life span, Wet Cell (flooded lead acid) and AGM (absorbed glass mat) require a charger designated for the appropriate battery type and must be used. We explain the proper techniques to prolong life and the improper techniques which can damage batteries in a short time frame.

WET CELL I LEAD ACID: Need to have the fluid level checked weekly and the level prior to charging should be at the top of the plates. After the batteries are fully charged, fluid can be added until it reaches the full indicators. If fluid is added prior to charging the batteries acid will boil over and leak inside the machine. Always leave the machine open during charging to prevent the buildup of explosive gasses inside the machine.

BEST: Run the machine until the batteries are discharged a maximum of 80% which is when the battery charge indicator will display a low charge, then plug the battery pack into the charger and fully charge the batteries. Once the batteries are fully charged be sure to allow 1/2 hour cool down period prior to using the machine.

GOOD: Opportunity charge the batteries: run the machine until the batteries are discharged a maximum of 40% (this level can be determined by dividing the total run time by 40%), example: if the total run time of the machine is 3 hours, use the machine for a maximum of 1.2 hours and then plug the batteries into the charger and charge for a minimum of 1/2 hour, unplug the charger and allow 1/2 hour cool down period prior to using. This can be repeated throughout the day but at the end of the day the batteries must be plugged into the charger and not used until they are fully charged and allowed to cool for 1/2 hour.

WORST: Short cycle charging of the batteries which means; if the batteries are discharged more than 40% from full charge then placed on the charger and not allowed to fully recharge and cool before the equipment is used, they are being short cycle charged. An example would be running a machine until the battery indicator starts flashing then charge for a half hour then run the machine until the indicator flashes again and repeat this cycle, when this method is repeatedly used it will cause premature failure of the batteries in a short time frame.

AGM I ABSORBED GLASS MAT: Maintenance free batteries, no fluid levels to check, do not attempt to check the levels in the batteries, doing so will destroy the battery and void the warranty.

Always leave the machine open during charging for proper cooling of the charger and batteries.

Note: If the machine is kept closed while charging the charger may overheat and shut down. If this occurs the batteries will not charge completely and over time this could damage the battery and possibly the charger.

BEST: Opportunity charge the batteries: run the machine until the batteries are discharged a maximum of 40% (this level can be determined by dividing the total run time by 40%), example: if the total run time of the machine is 3 hours, use the machine for a maximum of 1.2 hours and then plug the batteries into the charger and charge for a minimum of 1/2 hour, unplug the charger and allow 1/2 hour to cool down prior to using. This can be repeated throughout the day but at the end of the day the batteries must be plugged into the charger and not used until they are fully charged and allowed to cool for 1/2 hour.

GOOD: Run the machine until the batteries are discharged a maximum of 80% which is when the battery charge indicator displays a low charge, then plug the battery pack into the charger and charge the batteries completely. Once the batteries are fully charged be sure to allow 1/2 hour cool down period prior to using the machine.

WORST: Short cycle charging of the batteries which means; if the batteries are discharged more than 40% from full charge then placed on the charger and not allowed to fully recharge and cool before the equipment is used. Example: operating a machine until the battery indicator starts flashing then charge for a short time, run the machine until the indicator flashes again and repeat this cycle throughout the day. When this method is repeatedly used it will cause premature failure of the batteries.